3516 GEN SET ENGINE

ENGINE - ENTIRE GROUP

Qty. 	NPR 	Note 	Part No. 	Change

Level 	Req.

Qty 	Part Name

PART NUMBERS

I 	PA2488 	16 	001 	3516 DITA POWER MODULE (40 F

NPR 	IY 	2W-8404 	18 	001 	  ENGINE AR

NPR 	IY 	1W-5939 	04 	001 	  AIR CLEANER GP

NPR 	IY 	3N-4869 	03 	001 	  HOSE AS

NPR 	IY 	3N-6504 	02 	001 	  HOSE AS

NPR 	IY 	3N-7056 	00 	001 	  SUPPORT GP-BATTERY

NPR 	IY 	4W-4755 	01 	001 	  SWITCH GP-MAGNETIC

NPR 	IY 	4W-5309 	06 	001 	  PANEL GP-INSTRUMENT

NPR 	IY 	4W-5310 	04 	001 	  MOUNTING GP-INSTRUMENT PANEL

NPR 	IY 	5N-2438 	05 	001 	  LINES GP-FLEXIBLE FUEL

NPR 	IY 	5N-9527 	01 	001 	  FITTING GP-EXHAUST

I 	5P-2506 	00 	001 	  LITERATURE GP

NPR 	IY 	7C-0246 	02 	001 	  CONTROL AS-GOVERNOR

NPR 	IY 	7C-0527 	00 	001 	  STARTING MOTOR GP-ELECTRIC

NPR 	I 	7C-2561 	01 	001 	  CONNECTION GP-GENERATOR LEADS

NPR 	IY 	7E-9267 	00 	001 	  SWITCH GP-COOLANT LEVEL

NPR 	IY 	7L-7872 	05 	001 	  BATTERY GP

NPR 	IY 	7N-6782 	06 	001 	  INDICATOR GP-AIR FILTER CHANGE

NPR 	IY 	7W-3759 	02 	001 	  RAIL GP-ENGINE SUPPORT

NPR 	IY 	7W-3953 	03 	001 	  DRIVE GP-FAN

NPR 	IY 	7W-5224 	00 	001 	  PULLEY GP-FAN DRIVE

NPR 	IY 	7W-5639 	00 	001 	  FAN GP-BLOWER

NPR 	IY 	7W-6669 	01 	001 	  GUARD GP-DAMPER

NPR 	IY 	7W-7214 	03 	001 	  GUARD GP-BELT

NPR 	I 	7W-8708 	00 	001 	  INSTALLATION AR-GENERATOR

NPR 	IY 	7W-9265 	00 	001 	  LINES GP-INSTRUMENT PANEL

NPR 	IY 	7W-9453 	02 	001 	  LINES GP-INSTRUMENT PANEL

NPR 	IY 	7W-9465 	02 	001 	  PUMP GP-FUEL PRIMING

NPR 	IY 	7W-9704 	01 	001 	  PUMP GP-SUMP

NPR 	I 	7W-9986 	00 	001 	  KIT-SPACE HEATER

NPR 	IY 	8N-9639 	03 	001 	  GUARD GP-DAMPER

I 	9Y-1352 	00 	001 	  CONTAINER AR

NPR 	IY 	9Y-1353 	04 	001 	  HEATER GP-JACKET WATER

NPR 	I 	9Y-2582 	00 	001 	  CONNECTION GP-TERMINAL STRIP

NPR 	IY 	9Y-5563 	00 	001 	  FUMES DISPOSAL GP

NPR 	IY 	9Y-6676 	02 	001 	  RADIATOR GP

I 	0P-7047 		001 	***LUBE OIL - DO NOT DRAIN***

I 	5Z-9503 		002 	WATER SEPERATOR (K12)

NPR 	IY 	7E-5546 	03 	001 	MOUNTING GP-CONTACTOR

NPR 	IY 	9Y-0130 	05 	001 	FASTENER GP-WIRING HARNESS

NPR 	IY 	7C-5700 	06 	001 	HARNESS GP-WIRING

NPR 	IY 	7C-6513 	03 	001 	CONTROL GP-EMCP ELECTRONIC

NPR 	I 	7C-6795 	01 	001 	CONNECTION GP-ELECTRICAL

NPR 	I 	8T-9881 	07 	001 	CONTROL GP-ELECTRONIC

NPR 	IY 	9W-3574 	04 	001 	MODULE GP-ALARM

NPR 	I 	8T-9882 	03 	001 	CONTROL GP-EMCP ELECTRONIC

NPR 	I 	7C-9129 	00 	001 	FILM-ECM

NPR 	I 	9Y-0947 	00 	001 	FILM-IDENTIFICATION

NPR 	I 	9W-2183 	04 	001 	FILM-INFORMATION

I 	4Q-6371 		001 	SOUND ATTENUATION AR (3516)

NPR 	IY 	7L-7872 	05 	001 	BATTERY GP

NPR 	IY 	3N-7056 	00 	001 	SUPPORT GP-BATTERY

I 	4Q-9799 		001 	CHASSIS AR - POWER MODULE

NPR 	ILY 	9Y-0641 	00 	001 	PANEL GP-POWER SUPPLY

NPR 	ILY 	9Y-0683 	01 	001 	BUS BAR AS

NPR 	ILY 	2W-8947 	02 	001 	WIRING GP-ENGINE

NPR 	ILY 	2W-9593 	02 	001 	METER GP-SERVICE

NPR 	ILY 	7W-5013 	02 	001 	HARNESS AS-WIRING

I 	PA0975 	02 	001 	GENERATOR 807 FRAME PM

NPR 	I 	7C-1628 	00 	001 	  GENERATOR AR

I 	4Q-7400 		001 	COOLER GP - FUEL (46CV MTD)

I 	4Q-6348 		001 	SWITCHGEAR - FLOORSTANDING

IL 	5N-9912 		001 	FSS 1501 - 1800 KW @ 460 -480V

IL 	5N-9780 		001 	SINGLE CRANK

IL 	5N-9792 		001 	BATTERY CHARGER

IL 	5N-9914 		001 	2301A GOVERNOR LS INSTALLATION

I 	0P-8707 		001 	QUOTE NO.

I 	PL8935 	05 	001 	2520BHP 1750GEN KW WOF 60HZ

I 	0T-7043 	00 	001 	  1879 KW @ 1800 RPM (2520 BHP)

Key: